## EquipmentList(NV Diamond)
Item | Link | Cost | Quanity | Total | Notes
PL201 - Compact Laser Module with USB Connector, 520 nm, 0.9 mW | https://www.thorlabs.com/thorproduct.cfm?partnumber=PL201 | 186.57 | 1 | 186.57
AD11F - SM1-Threaded Adapter for Ø11 mm, ?0.35" (8.9 mm) Long Cylindrical Components | https://www.thorlabs.com/thorproduct.cfm?partnumber=ad11f | 35.85 | 1 | 35.85
CXY1A - 30 mm Cage System, XY Translating Lens Mount for Ø1" Optics | https://www.thorlabs.com/thorproduct.cfm?partnumber=cxy1a | 201.47 | 1 | 201.47
CRM1T - Cage Rotation Mount for Ø1" Optics, SM1 Threaded, 8-32 Tap | https://www.thorlabs.com/thorproduct.cfm?partnumber=CRM1T | 95.93 | 1 | 95.93 | New part (replaces CRM1)
WPH10M-532 - Ø1" Zero-Order Half-Wave Plate, SM1-Threaded Mount, 532 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=WPH10M-532 | 622.48 | 1 | 622.48
CP35 - 30 mm Cage Plate with Ø1" Double Bore, 8-32 Tap | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP35 | 21.53 | 1 | 21.53
CP33 - SM1-Threaded 30 mm Cage Plate, 0.35" Thick, 2 Retaining Rings, 8-32 Tap | https://www.thorlabs.com/thorproduct.cfm?partnumber=CP33 | 19.09 | 1 | 19.09
AC254-100-AB-ML - f = 100.0 mm, Ø1" Achromatic Doublet, SM1-Threaded Mount, ARC: 400 - 1100 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=AC254-100-AB-ML | 145.86 | 1 | 145.86
DMSP550 - Ø1" Shortpass Dichroic Mirror, 550 nm Cutoff | https://www.thorlabs.com/thorproduct.cfm?partnumber=DMSP550 | 310.06 | 1 | 310.06
DMSP505 - Ø1" Shortpass Dichroic Mirror, 505 nm Cutoff | https://www.thorlabs.com/thorproduct.cfm?partnumber=DMSP505 | 310.06 | 1 | 310.06
BB1-E02 - Ø1" Broadband Dielectric Mirror, 400 - 750 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=BB1-E02 | 81.22 | 1 | 81.22
DMLP650 - Ø1" Longpass Dichroic Mirror, 650 nm Cut-On | https://www.thorlabs.com/thorproduct.cfm?partnumber=DMLP650 | 310.06 | 1 | 310.06
KCB1C - Right-Angle Kinematic Mirror Mount | https://www.thorlabs.com/thorproduct.cfm?partnumber=KCB1C#ad-image-0 | 154.65 | 1 | 154.65
BS013 - 50:50 Non-Polarizing Beamsplitter Cube, 400 - 700 nm, 1" | https://www.thorlabs.com/thorproduct.cfm?partnumber=BS013 | 242.25 | 1 | 242.25
CS165MU - Zelux® 1.6 MP Monochrome CMOS Camera, 1/4"-20 Taps | https://www.thorlabs.com/thorproduct.cfm?partnumber=cS165MU | 479.86 | 1 | 479.86
LEDD1B - T-Cube LED Driver, 1200 mA Max Drive Current | https://www.thorlabs.com/thorproduct.cfm?partnumber=LEDD1B | 355.18 | 1 | 355.18 | Needs power supply
K, 251 mW (Min) 30 mm Cage-Compatible Diffuse Backlight LED, 2000 mA | https://www.thorlabs.com/thorproduct.cfm?partnumber=LEDBW1 | 373.23 | 1 | 373.23
SM1ZA - Z-Axis Translation Mount, 30 mm Cage Compatible | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1ZA | 220.2 | 1 | 220.2 | New part (replaces SM1Z)
SM1A12 - Adapter with External SM1 Threads and Internal M25 x 0.75 Threads | https://www.thorlabs.com/thorproduct.cfm?partnumber=SM1A12 | 24 | 1 | 24
APD130A - Si Avalanche Photodetector, Temperature Compensated, 400 - 1000 nm, 8-32 Taps | https://www.thorlabs.com/thorproduct.cfm?partnumber=apd130a | 1397 | 1 | 1397
CBB1 - 30 mm Cage System U-Bench, 1/4"-20 and 8-32 Tapped Holes | https://www.thorlabs.com/thorproduct.cfm?partnumber=cbb1 | 89.69 | 1 | 89.69
ER2-P4 - Cage Assembly Rod, 2" Long, Ø6 mm, 4 Pack | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER2-P4 | 25.07 | 3 | 75.21
ER3-P4 - Cage Assembly Rod, 3" Long, Ø6 mm, 4 Pack | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER3-P4 | 27.12 | 3 | 81.36
ER6-P4 - Cage Assembly Rod, 6" Long, Ø6 mm, 4 Pack | https://www.thorlabs.com/thorproduct.cfm?partnumber=ER6-P4 | 35.55 | 1 | 35.55
PT3 - 1" XYZ Translation Stage with Standard Micrometers, 1/4"-20 Taps | https://www.thorlabs.com/thorproduct.cfm?partnumber=PT3 | 1051.3 | 1 | 1051.3
XYR1 - XY Stage with Ø1" Hole, 1/2" Travel, 360° Rotation, Imperial Taps | https://www.thorlabs.com/thorproduct.cfm?partnumber=XYR1 | 744.82 | 1 | 744.82
RP01 - Ø2" Manual Rotation Stage | https://www.thorlabs.com/thorproduct.cfm?partnumber=RP01 | 111.38 | 1 | 111.38
TR2-P5 - Ø1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 2", 5 Pack | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR2-P5 | 26.52 | 2 | 53.04
PH3-P5 - Ø1/2" Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L = 3", 5 Pack | https://www.thorlabs.com/thorproduct.cfm?partnumber=PH3-P5 | 45.83 | 2 | 91.66
BE1 - Ø1.25" Studded Pedestal Base Adapter, 1/4"-20 Thread | https://www.thorlabs.com/thorproduct.cfm?partnumber=BE1 | 10.83 | 10 | 108.3
CF125C - Clamping Fork, 1.24" Counterbored Slot, 1/4"-20 Captive Screw | https://www.thorlabs.com/thorproduct.cfm?partnumber=CF125C | 12.83 | 10 | 128.3
20X Objective, Nikon CFI TU Plan Fluor BD | https://www.edmundoptics.com/p/20x-objective-nikon-cfi-tu-plan-fluor-bd/52722/ | 1440 | 1 | 1440
RFSoC 4x2 Kit | https://www.amd.com/en/corporate/university-program/aup-boards/rfsoc4x2.html | 2149 | 1 | 2149
EVAL BOARD OPAMP FDA 5GHZ | https://www.digikey.com/en/products/detail/texas-instruments/LMH5401EVM/5031896 | 178.8 | 1 | 178.8
Signal Attenuator | https://www.digikey.com/en/products/detail/pasternack/PE7008-2/21709686 | 1360 | 1 | 1360
TP-Link ER605 V2 Wired Gigabit VPN Router | https://www.amazon.com/TP-Link-Integrated-Lightening-Protection-TL-R605/dp/B08QTXNWZ1?th=1 | 58.79 | 1 | 58.79
Diamond |  |  | 1 | 0
MB2424 - Aluminum Breadboard 24" x 24" x 1/2", 1/4"-20 Taps | https://www.thorlabs.com/thorproduct.cfm?partnumber=MB2424 | 562.87 | 1 | 562.87
|  | TOTAL |  | 13906.62